## Slide 1: Legionella considerations for school reopening
Michigan Department of Health and Human Services
Dr. Sarah Lyon-Callo – Bureau Director and State Epidemiologist
Mike Wesenberg, REHS/RS – Environmental Health Specialist

## Slide 2: From Fresh Water to Clinical Disease

## Slide 3: Simplified Reopening Guidance
Actions
  Drain and flush hot water tanks
  Flush building water systems
  Clean and disinfect drinking fountains
  Change drinking fountain water filters
Testing Objectives
  Routine Legionella testing should be conducted to validate a comprehensive Water Management Program (WMP)
  Establishing a baseline measurement for performance indicators
  Evaluating potential growth and transmission sources
  Investigating potential sources of environmental exposures for persons with disease

## Slide 4: Summary
Key points
  Creation of a Water Management Program (WMP) is imperative
  Testing should be driven by the components of a comprehensive WMP
Questions
  Contact your local Environmental Health Department for assistance

## Slide 5: Reopening Guidance and Resources
CDC: Guidance for Reopening
EPA: Guidance for Reopening
EGLE: Guidance for Reopening
EGLE: Guidance for Flushing School Plumbing
Building Reopening Checklist
Reopening Aquatic Venues
CDC: Considerations When Working with Legionella Consultants
CDC Toolkit: Developing a Water Management Program to Reduce Legionella Growth & Spread in Buildings
ANSI/ASHRAE Standard 188-2018: Legionellosis: Risk Management for Building Water Systems
ASHRAE Guideline 12-2020: Managing the Risk of Legionellosis Associated with Building Water Systems